## Slide 1: IMD Measurement POC Audio Plug-in Offering

## Slide 2: What is IMD Measurement ?
Intermodulation Distortion (IMD) is a multi-tone distortion product that results when two or more signals are present at the input of a non-linear device. Two tone IMD is measured by applying two spectrally pure sinewaves to the ADC at frequencies and .
The frequencies of the two-tone intermodulation products can be computed by the equation:
M * + N *

## Slide 3: IMD Measurement
The order of the distortion product is given by the sum of M+N. The second order intermodulation products of two signals and would occur at ,

## Slide 4: UI for the POC
IMD Standards provided are
SMPTE (60 Hz, 7000 Hz, 4:1)
DIN (250 Hz, 8000 Hz, 4:1)
CCIF (11 kHz, 12 kHz, 1:1)
CCIF (19 kHz, 20kHz, 1:1)
Custom IMD

## Slide 5: Logic for POC
Configuring PCM Settings

## Slide 6: Logic for POC
Generate multi tone waveform

## Slide 7: Logic for POC
Perform Audio Measurements (IMD)

## Slide 8: Logic for POC
Generate multi tone waveform (Generates until measurement is taken)

## Slide 9: Results for POC

## Slide 10: Test Setup for demo

## Slide 11: Demo